Avinashilingam Institute for Home Science and Higher Education for Women

(Deemed to be University under Category ‘A’ by MHRD, Estd. u/s 3 of UGC Act 1956)

Re-accredited with ‘A+’ Grade by NAAC. Recognised by UGC Under Section 12B

Coimbatore - 641 043, Tamil Nadu, India

Master’s Degree Examination – March 2021

I Semester

Class	    : I M.Sc								            Time            : 3 Hours                                                                                               Major     :  Biochemistry								 Max. Marks: 100

20MBCC01 Biophysical Methodology

PART A                                       10 x 1 = 10

Choose the Correct Answer

1.  In which of the following type of chromatography the capillary action mechanism is present?

a. Liquid chromatography				b. Gas chromatography

c. Thin- Layer chromatography			d. Paper chromatography

2. Which of the following techniques is used to study the three-dimensional structure of a

molecule?

a. Infra-red spectroscopy				b. Mass spectrometry

c. UV-visible spectroscopy				d. X-ray crystallography

3. Which of the following centrifugation is used to separate certain organelles from whole cell?

a. Rate-zonal centrifugation				b. Normal centrifugation

c. Differential centrifugation				d. Isopycnic centrifugation

4. Which statement is true for all three types of radioactive emission?

a. They are deflected by electric fields

b. They ionise gases

c. They are completely absorbed by a thin aluminium sheet

d. They emit light

5. Which of the following is the principle of Atomic Absorption Spectroscopy?

a. Radiation is absorbed by non-excited atoms in vapour state and are excited to higher

states

b. Medium absorbs radiation and transmitted radiation is measured

c. Colour is measured

d. Colour is simply observed

6.  In mass spectrometer, the ions are sorted out in which of the following ways?

a. By accelerating them through electric field

b. By accelerating them through magnetic field

c. By accelerating them through electric and magnetic field

d. By applying a high voltage

7.  Which of the following wavelength ranges is associated with UV spectroscopy?

a. 0.8 - 500µm						b. 400 - 100nm

c. 380 - 750nm						d. 0.01 - 10nm

8.  Which of the following is not a detector used in Flame emission photometers?

a. Photronic cell		b. Photovoltaic cell		c. Photoemissive tube	d. Chromatogram

9. Quantum dots can be used in ________

a. Crystallography					b. Optoelectronics

c. Mechanics						d. Quantum physics

10. Which property of Nanomaterials make them suitable to be used for elimination of

pollutants?
     a. High purity						b. Better thermal conductivity

c. Enhanced chemical activity 			d. Small size

Part B		                                5 x 6 = 30

Answer ALL questions

Each answer should not exceed 400 words or two pages

11.a. Why TLC is advantageous over Paper chromatography? Outline the principle of Gas

liquid chromatography.

(or)

11.b. Summarize the principle and applications of PAGE and  2D PAGE.

12.a. How will you make use of GM counter for the measurement of radioactivity?

(or)

12.b. Describe the Instrumentation and applications of SEM.

13.a. How will you differentiate the geometrical isomers of organic compounds by using IR

spectroscopy?

(or)

13.b. Explain the instrumentation of Atomic absorption spectroscopy.

14.a. Discuss the principle and instrumentation of  Flame Photometry.

(or)

14.b. Write a note on  ORD and CD.

15.a. List down any six live day to day  commercial applications of nanotechnology?

(or)

15.b. How  Nanotechnology applied in detection of pathogens?

Part C                                           5 x 12 = 60

Answer ALL questions

Each answer should not exceed 800 words or four pages

16.a. How will you separate serum proteins by utilizing paper electrophoresis.

(or)

16.b. Explain the optical methods used  and applications of types of Ultracentrifugation.

17.a. Elaborate the instrumentation of Super resolution Microscopy.

(or)

17.b. Describe the techniques and applications of ELISA.

18.a. Write a detailed note on working principle of UV Visible Spectroscopy.

(or)

18.b. Explain the principle, instrumentation and applications of NOSY and ROSY Techniques.

19.a. Describe the principle, Instrumentation of Mass Spectroscopy.

(or)

19.b. Write an essay on principle Instrumentation and applications of Raman Spectroscopy.

20.a. Why nanotechnology an important tool in cancer research?

(or)

20.b. Give an account on the  applications of different types of biosensors.

*****